Copyright 2014 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 092216 - NON-STRUCTURAL METAL FRAMING

Revise this Section by deleting and inserting text to meet Project-specific requirements.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

SUMMARY

This Section includes non-loadbearing steel framing members for the following applications:

Interior framing systems as supporting elements for partitions, framed soffits, furring, etc.

Interior suspension systems as supporting elements for ceilings, suspended soffits, etc.

For suspended acoustical ceiling systems, refer to Section “096113 - Acoustical Panel Ceilings”.

ACTION SUBMITTALS

Product Data: For each type of product.

INFORMATIONAL SUBMITTALS

Evaluation reports for firestop tracks.

QUALITY ASSURANCE

Perform Work in accordance with ASTM C 754.

Installer Qualifications: Company specializing in performing the work of this section with minimum five years documented experience and approved by manufacturer.

PROJECT CONDITIONS

Coordinate the placement of components to be installed within and attached to the stud framing system.

PRODUCTS

GENERAL

All materials shall meet or exceed all applicable referenced standards, federal, state and local requirements, and conform to codes and ordinances of authorities having jurisdiction.

PERFORMANCE REQUIREMENTS

Retain "Fire-Test-Response Characteristics" Paragraph below if framing is part of fire-resistance-rated assemblies. Indicate design designations of specific assemblies on Drawings.

Fire-Test-Response Characteristics: For fire-resistance-rated assemblies that incorporate non-load-bearing steel framing, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 119 by an independent testing agency.

Retain "STC-Rated Assemblies" Paragraph below if framing is part of STC-rated assemblies. Indicate design designations of specific assemblies on Drawings.

STC-Rated Assemblies: For STC-rated assemblies, provide materials and construction identical to those tested in assembly indicated, according to ASTM E 90 and classified according to ASTM E 413 by an independent testing agency.

FRAMING SYSTEMS

Framing Members, General: Comply with ASTM C 754 for conditions indicated.

Steel Sheet Components: Comply with ASTM C 645 requirements for metal unless otherwise indicated.

Protective Coating:  ASTM A 653/A 653M, G40 (Z120), hot-dip galvanized unless otherwise indicated.

Studs and Runners: ASTM C 645.

Acceptable Manufacturers: Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

MarinoWARE

Phillips Manufacturing Company

SCAFCO Steel Stud Company

The Steel Network, Inc.

Minimum Base-Metal Thickness:  As required by performance requirements for horizontal deflection, but no less than 0.0269 inch (0.683 mm).

Depth:  As indicated on Drawings.

For slip joint at stud and top-track interface (head joint) that avoids axial loading of partition by overhead structure, retain "Slip-Type Head Joints" Paragraph below and one or all of the following types of head joints. See "Crack Control" Article in the Evaluations.

Slip-Type Head Joints: Where indicated, provide[ one of] the following:

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

The Steel Network, Inc.

If retaining "Clip System" Subparagraph below, indicate depth of runners on Drawings or insert requirements. Clips can be used with runners with standard legs and long legs.

Clip System: Clips designed for use in head-of-wall deflection conditions that provide a positive attachment of studs to runners while allowing [1-1/2-inch (38-mm)] [2-inch (51-mm)] [2-1/2-inch (64-mm)] [3-inch (76-mm)] <Insert dimension> minimum vertical movement.

If retaining "Single Long-Leg Runner System" Subparagraph below, indicate type of bridging required on Drawings or by inserts. Strap and 1-1/2-inch (38-mm) cold-rolled channel are commonly used.

Single Long-Leg Runner System: ASTM C 645 top runner with 2-inch- (51-mm-) deep flanges in thickness not less than indicated for studs, installed with studs friction fit into top runner and with continuous bridging located within 12 inches (305 mm) of the top of studs to provide lateral bracing.

If retaining "Double-Runner System" Subparagraph below and if deflection might be great, evaluate the lateral stability of outer-runner flanges and consider using steel channels for tracks instead of non-structural runners.

Double-Runner System: ASTM C 645 top runners, inside runner with 2-inch- (51-mm-) deep flanges in thickness not less than indicated for studs and fastened to studs, and outer runner sized to friction fit inside runner.

Deflection Track: Steel sheet top runner manufactured to prevent cracking of finishes applied to interior partition framing resulting from deflection of structure above; in thickness not less than indicated for studs and in width to accommodate depth of studs.

"Firestop Tracks" Paragraph below specifies firestop tracks for isolating partition framing from structure above in specific fire-resistance-rated assemblies. Products listed may need additional materials to achieve a fire-resistance rating; verify with manufacturer. If retaining, revise to coordinate with rated assemblies and indicate design designations of assemblies on Drawings.

Firestop Tracks: Top runner manufactured to allow partition heads to expand and contract with movement of structure while maintaining continuity of fire-resistance-rated assembly indicated; in thickness not less than indicated for studs and in width to accommodate depth of studs.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

Fire Trak Corporation

MarinoWARE

SCAFCO Steel Stud Company

The Steel Network, Inc.

Retain "Flat Strap and Backing Plate" Paragraph below for flat-strap blocking and bracing for fixture attachment. Indicate locations, lengths, and widths on Drawings. Insert requirements for proprietary blocking products if needed.

Flat Strap: Steel sheet for blocking and bracing in length and width indicated.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

Retain "Manufacturers" Subparagraph below and insert list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

Minimum Base-Metal Thickness:  0.0329 inch (0.836 mm) <Insert thickness>.

Backing Plate: Galvanized steel plate for blocking and bracing in length and width indicated and as necessary to accommodate wall-mounted and wall-supported items including but not limited to casework, millwork, railings, wall protection, equipment, medical equipment, artwork, signage, etc.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

Retain "Manufacturers" Subparagraph below and insert list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

Minimum Base-Metal Thickness:  0.0538-inch (1.367-mm).

Provide plates designed, and certified, to support an imposed load of 250 lbs. per linear foot for handrails, grab bars and other ADA-compliant items. Provide plates designed, and certified, to support an imposed load of 144 lbs. per linear foot for all other items. All loads required above are in addition to the weight of the item supported by the back-up plate.

Provide plates designed for screw-attachment to steel studs with back-up plate faces flush with face of studs or overlapping face of studs with pre-cut notches matching stud spacing.

Retain "Cold-Rolled Channel Bridging" Paragraph below for channel bridging for fixture attachment or lateral bracing. Indicate locations and details of installation on Drawings.

Cold-Rolled Channel Bridging: Steel, 0.0538-inch (1.367-mm) minimum base-metal thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

Depth: [As indicated on Drawings] <Insert depth>.

Clip Angle: Not less than 1-1/2 by 1-1/2 inches (38 by 38 mm), 0.068-inch- (1.72-mm-) thick, galvanized steel.

Hat-Shaped, Rigid Furring Channels: ASTM C 645.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

Minimum Base-Metal Thickness:  0.0329 inch (0.836 mm).

Depth:  As indicated on Drawings.

Resilient Furring Channels: 1/2-inch- (13-mm-) deep, steel sheet members designed to reduce sound transmission.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

Configuration: [Asymmetrical] [or] [hat shaped].

Cold-Rolled Furring Channels: 0.053-inch (1.34-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges.

Depth: [As indicated on Drawings] [3/4 inch (19 mm)] <Insert depth>.

Furring Brackets: Adjustable, corrugated-edge-type steel sheet with minimum uncoated-steel thickness of 0.0329 inch (0.8 mm).

Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

Z-shaped furring is available in 1-, 1-1/2-, 2-, 2-1/2-, and 3-inch (25-, 38-, 51-, 64-, and 76-mm) depths. Coordinate Z-shaped furring requirements with insulation specified in Section 072100 "Thermal Insulation."

Z-Shaped Furring: With slotted or nonslotted web, face flange of 1-1/4 inches (32 mm), wall attachment flange of 7/8 inch (22 mm), minimum uncoated-metal thickness of 0.0179 inch (0.455 mm), and depth required to fit insulation thickness indicated.

Acceptable Manufacturers:  Subject to compliance with the requirements, manufacturers offering products that may be incorporated in the Work include:

ClarkDietrich Building Systems

MarinoWARE

SCAFCO Steel Stud Company

SUSPENSION SYSTEMS

Retain this article for suspended or furred ceilings or soffits.

Tie Wire: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.062-inch- (1.59-mm-) diameter wire, or double strand of 0.048-inch- (1.21-mm-) diameter wire.

Retain this article for any components fastened to a floor/ceiling or roof/ceiling assembly above.  Some instances, may have buried electrical conduit, piping, or other

Hanger Attachments to Concrete:  Coordinate anchoring requirements with supporting conditions and with Owner, Architect and Engineer.

Retain "Expansion Anchors" Subparagraph below if expansion anchors are acceptable. Verify allowable load capacity with Project's structural engineer. Insert specific load requirements and names of acceptable products if required.

Expansion Anchors: Fabricated from corrosion-resistant materials, with allowable load or strength design capacities calculated according to ICC-ES AC193 and ACI 318 greater than or equal to the design load, as determined by testing per ASTM E 488/E 488M conducted by a qualified testing agency.

Retain "Power-Actuated Anchors" Subparagraph below if power-actuated fasteners are acceptable. Verify allowable load capacity with Project's structural engineer.

Power-Actuated Anchors: Fastener system of type suitable for application indicated, fabricated from corrosion-resistant materials, with allowable load capacities calculated according to ICC-ES AC70, greater than or equal to the design load, as determined by testing per ASTM E 1190 conducted by a qualified testing agency.

Wire Hangers: ASTM A 641/A 641M, Class 1 zinc coating, soft temper, 0.16 inch (4.12 mm) in diameter.

Carrying Channels: Cold-rolled, commercial-steel sheet with a base-metal thickness of 0.0538 inch (1.367 mm) and minimum 1/2-inch- (13-mm-) wide flanges.

Depth: [As indicated on Drawings] [2-1/2 inches (64 mm)] [2 inches (51 mm)] [1-1/2 inches (38 mm)].

Furring Channels (Furring Members):

Retain one type of furring member below or, if more than one is required, indicate locations of each on Drawings.

Cold-Rolled Channels: 0.0538-inch (1.367-mm) uncoated-steel thickness, with minimum 1/2-inch- (13-mm-) wide flanges, 3/4 inch (19 mm) deep.

Steel Studs and Runners: ASTM C 645.

Minimum Base-Metal Thickness:  0.0329 inch (0.836 mm).

Depth:  As indicated on Drawings.

Hat-Shaped, Rigid Furring Channels: ASTM C 645, 7/8 inch (22 mm) deep.

Minimum Base-Metal Thickness:  0.0329 inch (0.836 mm).

Resilient Furring Channels: 1/2-inch- (13-mm-) deep members designed to reduce sound transmission.

Configuration: [Asymmetrical] [or] [hat shaped].

AUXILIARY MATERIALS

General: Provide auxiliary materials that comply with referenced installation standards.

Fasteners for Metal Framing: Of type, material, size, corrosion resistance, holding power, and other properties required to fasten steel members to substrates.

Isolation Strip at Exterior Walls: Provide[ one of] the following:

Retain "Asphalt-Saturated Organic Felt" and "Foam Gasket" subparagraphs below and option in "Isolation Strip at Exterior Walls" Paragraph above to allow Contractor to choose type of isolation strip.

Asphalt-Saturated Organic Felt: ASTM D 226/D 226M, Type I (No. 15 asphalt felt), nonperforated.

Foam Gasket: Adhesive-backed, closed-cell vinyl foam strips that allow fastener penetration without foam displacement, 1/8 inch (3.2 mm) thick, in width to suit steel stud size.

Edit or delete paragraph below to suit project requirements.

Acoustical Sound Attenuation for Utility Boxes in Wall: Provide moldable putty pads in walls for boxes containing mechanical, electrical, and plumbing devices <as indicated in the drawings>.

Insert additional auxiliary materials, such as partition and outlet box isolation pads to maintain acoustic isolation, here.

EXECUTION

INSTALLATION, GENERAL

Installation Standard: ASTM C 754.

Standards listed in "Gypsum Plaster Assemblies," "Portland Cement Plaster Assemblies," "Gypsum Veneer Plaster Assemblies," and "Gypsum Board Assemblies" subparagraphs below include framing installation requirements not in ASTM C 754. Retain applicable subparagraphs to suit Project.

Gypsum Plaster Assemblies: Also comply with requirements in ASTM C 841 that apply to framing installation.

Portland Cement Plaster Assemblies: Also comply with requirements in ASTM C 1063 that apply to framing installation.

Gypsum Veneer Plaster Assemblies: Also comply with requirements in ASTM C 844 that apply to framing installation.

Gypsum Board Assemblies: Also comply with requirements in ASTM C 840 that apply to framing installation.

Install framing and accessories plumb, square, and true to line, with connections securely fastened.

Install supplementary framing, and blocking to support fixtures, equipment services, heavy trim, grab bars, toilet accessories, furnishings, or similar construction.

Install bracing at terminations in assemblies.

Indicate control and expansion joints on Drawings.

Do not bridge building control and expansion joints with non-load-bearing steel framing members. Frame both sides of joints independently.

INSTALLING FRAMED ASSEMBLIES

Install framing system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

Retain first paragraph below if studs abut dissimilar metals at exterior walls or exterior masonry walls that may become damp.

Where studs are installed directly against exterior masonry walls or dissimilar metals at exterior walls, install isolation strip between studs and exterior wall.

Install studs so flanges within framing system point in same direction.

Install tracks (runners) at floors and overhead supports. Extend framing full height to structural supports or substrates above suspended ceilings except where partitions are indicated to terminate at suspended ceilings. Continue framing around ducts that penetrate partitions above ceiling.

Indicate locations and details of slip-type and fire-rated head joints on Drawings. See "Crack Control" Article in the Evaluations.

Slip-Type Head Joints: Where framing extends to overhead structural supports, install to produce joints at tops of framing systems that prevent axial loading of finished assemblies.

Door Openings: Screw vertical studs at jambs to jamb anchor clips on door frames; install runner track section (for cripple studs) at head and secure to jamb studs.

Usually retain first subparagraph below. Design framing for doors more than 48 inches (1219 mm) wide, for double doors, and for extra-heavy doors to meet loading conditions.

Install two studs at each jamb unless otherwise indicated.

Retain first subparagraph below if one-piece control joints are required at heads of doors.

Install cripple studs at head adjacent to each jamb stud, with a minimum 1/2-inch (13-mm) clearance from jamb stud to allow for installation of control joint in finished assembly.

Retain first subparagraph below if suspended ceilings cannot withstand forces generated by opening and closing doors.

Extend jamb studs through suspended ceilings and attach to underside of overhead structure.

Retain "Other Framed Openings" Subparagraph below for framed openings other than doors, or revise to suit Project. Fully indicate framing for large openings on Drawings.

Other Framed Openings: Frame openings other than door openings the same as required for door openings unless otherwise indicated. Install framing below sills of openings to match framing required above door heads.

Fire-Resistance-Rated Partitions: Install framing to comply with fire-resistance-rated assembly indicated and support closures and to make partitions continuous from floor to underside of solid structure.

Indicate locations and details of firestop track on Drawings.

Firestop Track: Where indicated, install to maintain continuity of fire-resistance-rated assembly indicated.

Sound-Rated Partitions: Install framing to comply with sound-rated assembly indicated.

Curved Partitions:

Bend track to uniform curve and locate straight lengths so they are tangent to arcs.

Begin and end each arc with a stud, and space intermediate studs equally along arcs. On straight lengths of no fewer than two studs at ends of arcs, place studs 6 inches (150 mm) o.c.

Direct Furring:

Screw to wood framing.

Attach to concrete or masonry with stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

Z-Shaped Furring Members:

Erect insulation, specified in Section 072100 "Thermal Insulation," vertically and hold in place with Z-shaped furring members spaced [24 inches (610 mm)] <Insert dimension> o.c.

Except at exterior corners, securely attach narrow flanges of furring members to wall with concrete stub nails, screws designed for masonry attachment, or powder-driven fasteners spaced 24 inches (610 mm) o.c.

At exterior corners, attach wide flange of furring members to wall with short flange extending beyond corner; on adjacent wall surface, screw-attach short flange of furring channel to web of attached channel. At interior corners, space second member no more than 12 inches (305 mm) from corner and cut insulation to fit.

"Installation Tolerance" Paragraph below is based on recommendation in GA-216 for wood framing and in ASTM C 840 for metal framing.

Installation Tolerance: Install each framing member so fastening surfaces vary not more than 1/8 inch (3 mm) from the plane formed by faces of adjacent framing.

INSTALLING SUSPENSION SYSTEMS

Install suspension system components according to spacings indicated, but not greater than spacings required by referenced installation standards for assembly types.

Isolate suspension systems from building structure where they abut or are penetrated by building structure to prevent transfer of loading imposed by structural movement.

Suspend hangers from building structure as follows:

Install hangers plumb and free from contact with insulation or other objects within ceiling plenum that are not part of supporting structural or suspension system.

Splay hangers only where required to miss obstructions and offset resulting horizontal forces by bracing, countersplaying, or other equally effective means.

Where width of ducts and other construction within ceiling plenum produces hanger spacings that interfere with locations of hangers required to support standard suspension system members, install supplemental suspension members and hangers in the form of trapezes or equivalent devices.

Size supplemental suspension members and hangers to support ceiling loads within [performance limits established by referenced installation standards] <Insert deflection limit>.

Wire Hangers: Secure by looping and wire tying, either directly to structures or to inserts, eye screws, or other devices and fasteners that are secure and appropriate for substrate, and in a manner that will not cause hangers to deteriorate or otherwise fail.

Flat Hangers: Secure to structure, including intermediate framing members, by attaching to inserts, eye screws, or other devices and fasteners that are secure and appropriate for structure and hanger, and in a manner that will not cause hangers to deteriorate or otherwise fail.

Retain applicable construction types below.

Do not attach hangers to steel roof deck.

Do not attach hangers to permanent metal forms. Furnish cast-in-place hanger inserts that extend through forms.

Do not attach hangers to rolled-in hanger tabs of composite steel floor deck.

Do not connect or suspend steel framing from ducts, pipes, or conduit.

Furring channels must be wire tied to supports in most fire-resistance-rated assemblies. Verify requirements of fire-resistance-rated assemblies and revise "Fire-Resistance-Rated Assemblies" Paragraph below to suit Project.

Fire-Resistance-Rated Assemblies: Wire tie furring channels to supports.

Retain "Seismic Bracing" Paragraph below for seismic bracing and revise to include specific provisions to suit Project.

Seismic Bracing: Sway-brace suspension systems [with hangers used for support] <Insert requirements>.

Example tolerance in "Installation Tolerances" Paragraph below is based on ASTM C 636 for acoustical ceilings.

Installation Tolerances: Install suspension systems that are level to within 1/8 inch in 12 feet (3 mm in 3.6 m) measured lengthwise on each member that will receive finishes and transversely between parallel members that will receive finishes.

END OF SECTION 092216