Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096513 - RESILIENT BASE AND ACCESSORIES

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

SUMMARY

Application:  Refer to BJC Manual of Practice, Flooring Selection Guideline, for application of resilient base and accessory materials.

This Section specifies resilient base, stair accessories, and molding accessories for installation with resilient floor coverings, carpet, and carpet tile.

Resilient base, rubber and vinyl

Resilient stair accessories

Resilient molding accessories

This Section does not specify resilient floor coverings.

Edit paragraph below to suit project requirements.  Coordinate with Owner regarding the Preferred Flooring Vendor program.  Refer to Flooring Installation – Scope of Work Checklist for delineation of requirements and responsibilities.

[Contractor, Owner] will engage a flooring contractor for the [demolition,] substrate preparation and installation of flooring materials and systems [, resilient wall base] [resilient moldings] [, wall tiling] [, and resilient stair accessories] through the Owner’s Preferred Flooring Vendor program.  Coordinate responsibilities with Flooring Installation - Scope of Work Checklist.

ACTION SUBMITTALS

Product Data:  For each type of product indicated.

Samples:  For each type of product including transition strips indicated, in manufacturer's standard-size Samples not less than 12 inches (300 mm) long, of each resilient product color, texture, and pattern required.

INFORMATIONAL SUBMITTALS

Samples:  For each type of transition strip indicated, in manufacturer's standard-size Samples not less than 12 inches (300 mm) long, of each color, and pattern required.

Submit sample to Owner for information.

QUALITY ASSURANCE

Delete Article if fire-test-response testing is not required by authorities having jurisdiction.  In most building codes, resilient products are exempt from fire-test-response requirements.  See "Fire-Test-Response Characteristics" Article in the Evaluations for additional information.

Fire-Test-Response Characteristics:  As determined by testing identical products according to ASTM E 648 or NFPA 253 by a qualified testing agency.

Critical Radiant Flux Classification:  Class I, not less than 0.45 W/sq. cm.

PROJECT CONDITIONS

Maintain ambient temperatures within range recommended by manufacturer in spaces to receive resilient products.

Until Substantial Completion, maintain ambient temperatures within range recommended by manufacturer.

Install resilient products after other finishing operations, including painting, have been completed.

PRODUCTS

RESILIENT BASE, RUBBER - RBR

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Resilient Base:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Section 016000 "Product Requirements."

Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Armstrong World Industries

Johnsonite.

Roppe Corporation, USA.

Resilient Base Standard:  ASTM F 1861.

See "Resilient Base" Article in the Evaluations for a discussion of material requirement, manufacturing method, and style.

Material Requirement: Type TP (rubber, thermoplastic)

Manufacturing Method:  Group I (solid, homogeneous)

Style:  Cove (base with toe)

Minimum Thickness:  0.125 inch (3.2 mm)

Height:  Typical minimum base height shall be 4 inches (102 mm) unless otherwise indicated.

Coordinate height selected in paragraph above with length selected in first paragraph below; some manufacturers do not offer coils for every height.

Lengths:  Coils in manufacturer's standard length.

Inside and Outside Corners:  Job formed.

Coordinate first paragraph below with "Resilient Base Installation" Article.

Finish:  As selected by Architect from manufacturer's full range.

Retain paragraph below if colors and patterns are not indicated in a separate schedule.

RESILIENT STAIR ACCESSORIES

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Resilient Stair Treads:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Section 016000 "Product Requirements."

Manufacturers:  Subject to compliance with requirements, available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Flexco, Inc.

Johnsonite.

Roppe Corporation, USA.

Resilient Stair Treads Standard:  ASTM F 2169.

See "Resilient Base" Article in the Evaluations for a discussion of type, class, and group.

Material Requirement:  Type TP (rubber, thermoplastic).

Surface Design:

Retain first subparagraph below for smooth (flat) tread surface.  Retain second subparagraph for tread surface with pattern.

Class 1, Smooth (flat).

Class 2, Pattern:  As selected by Architect from manufacturer’s full range and approved by Owner including Raised-disc design, Raised-square design, Raised-chevron design, Raised-diamond design, Raised-rib design, Raised-rib design with abrasive strips.

Retain subparagraph below for both Class 1 and 2 treads.

Manufacturing Method:  As selected by Architect from manufacturer’s full range and approved by Owner

Group 1, tread with embedded abrasive strips

Group 2, tread with contrasting color for the visually impaired.

Nosing Style:  Square, adjustable to cover angles between 60 and 90 degrees.

Nosing Height:  2 inches (51 mm)

Thickness:  1/4 inch (6 mm) and tapered to back edge.

Size:  Lengths and depths to fit each stair tread in one piece or, for treads exceeding maximum lengths manufactured, in equal-length units.

Retain first paragraph below for separate riser units or delete and insert requirements for integral stair and riser units as required by Project.

Risers:  Smooth, flat, toeless, height and length to cover risers; produced by same manufacturer as treads and recommended by manufacturer for installation with treads.

Thickness:  0.125 inch (3.2 mm).

Retain paragraph below if colors and patterns are not indicated in a separate schedule.

Colors and Patterns:  As selected by Architect and approved by Owner from full range of industry colors.

RESILIENT MOLDING ACCESSORY

Refer to the tables at the end of the Evaluations for a list of manufacturers' products.  Use these tables in combination with manufacturers' catalogs or product data to insert series, type, model, and designations of other characteristics.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Resilient Molding Accessory:

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain subparagraph and list of manufacturers below.  See Section 016000 "Product Requirements."

Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Flexco, Inc.

Johnsonite.

Roppe Corporation, USA.

Description:   Reducer strip for resilient floor covering, Joiner for tile and carpet, Transition strips.

Material:  Rubber.

Profile and Dimensions:  As indicated.

Retain paragraph below if colors and patterns are not indicated in a separate schedule.

Colors and Patterns:  As selected by Architect and approved by Owner from full range of industry colors.

INSTALLATION MATERIALS

Trowelable Leveling and Patching Compounds:  Latex-modified, portland cement based or blended hydraulic-cement-based formulation provided or approved by manufacturer for applications indicated.

Adhesives:  Water-resistant type recommended by manufacturer to suit resilient products and substrate conditions indicated.

Retain first subparagraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.1.

Adhesives shall have a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24), except that adhesive for rubber stair treads shall have a VOC content of 60 g/L or less.

Stair-Tread-Nose Filler:  Two-part epoxy compound recommended by resilient tread manufacturer to fill nosing substrates that do not conform to tread contours.

Retain first paragraph below if metal edge strips are required.

Metal Edge Strips:  Extruded aluminum with mill finish of width shown, of height required to protect exposed edges of tiles, and in maximum available lengths to minimize running joints.

Before retaining paragraph below, verify manufacturers' written instructions for floor polish products.  Delete paragraph if this Section is used with resilient floor coverings at stair landings (with floor polish) specified in other Sections.

Floor Polish:  Provide protective liquid floor polish products as recommended by resilient stair tread manufacturer.

EXECUTION

PREPARATION

Extensive surface preparation is required over substrates from which existing products have been removed.  Requirements vary among manufacturers.  Insert requirements to suit Project.

Prepare substrates according to manufacturer's written instructions to ensure adhesion of resilient products.

Manually remove existing flooring and adhesives from existing concrete substrates by scraping method.

Mechanically remove existing flooring and adhesive materials by [grinding,] [and] [sanding] method from existing concrete substrates when materials are not removed by conventional means.

Remove all foreign materials (including but not limited to chemicals, curing compounds, sealers, construction layout markings, etc.) from existing concrete substrates by bead blasting.

Concrete Substrates for Resilient Stair Treads and Accessories:  Prepare according to ASTM F 710.

Verify that substrates are dry and free of curing compounds, sealers, and hardeners.

Remove substrate coatings and other substances that are incompatible with adhesives and that contain soap, wax, oil, or silicone, using mechanical methods recommended by manufacturer.  Do not use solvents.

Alkalinity and Adhesion Testing:  Perform tests recommended by manufacturer.

Moisture Testing:  Perform tests recommended by manufacturer and as follows.  Proceed with installation only after substrates pass testing.

Follow manufacturer's requirements for moisture testing.  Retain one or both subparagraphs below.

Perform anhydrous calcium chloride test, ASTM F 1869.  Proceed with installation only after substrates have maximum moisture-vapor-emission rate of 3 lb of water/1000 sq. ft. (1.36 kg of water/92.9 sq. m) in 24 hours.

Perform relative humidity test using in situ probes, ASTM F 2170.  Proceed with installation only after substrates have maximum 75 percent relative humidity level measurement.

Fill cracks, holes, and depressions in substrates with trowelable leveling and patching compound and remove bumps and ridges to produce a uniform and smooth substrate.

Do not install resilient products until they are same temperature as the space where they are to be installed.

Move resilient products and installation materials into spaces where they will be installed at least 48 hours in advance of installation.

Sweep and vacuum clean substrates to be covered by resilient products immediately before installation.

RESILIENT BASE INSTALLATION

Comply with manufacturer's written instructions for installing resilient base.

Apply resilient base to walls, columns, pilasters, casework and cabinets in toe spaces, and other permanent fixtures in rooms and areas where base is required.

Install resilient base in lengths as long as practicable without gaps at seams and with tops of adjacent pieces aligned.

Tightly adhere resilient base to substrate throughout length of each piece, with base in continuous contact with horizontal and vertical substrates.

Do not stretch resilient base during installation.

RESILIENT ACCESSORY INSTALLATION

Comply with manufacturer's written instructions for installing resilient accessories.

Resilient Stair Accessories:

Use stair-tread-nose filler to fill nosing substrates that do not conform to tread contours.

Tightly adhere to substrates throughout length of each piece.

Retain subparagraph below if applicable.

For treads installed as separate, equal-length units, install to produce a flush joint between units.

Resilient Molding Accessories:  Butt to adjacent materials and tightly adhere to substrates throughout length of each piece.  Install reducer strips at edges of carpet and resilient floor covering that would otherwise be exposed.

CLEANING AND PROTECTION

Comply with manufacturer's written instructions for cleaning and protection of resilient products.

Before retaining first paragraph below, verify resilient stair tread manufacturer's written instructions for floor polish.  Generally, floor polish is used with most vinyl products.

Cover resilient stair treads until Substantial Completion.

END OF SECTION 096513