Copyright 2010 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 096723.01 - BROADCAST TYPE RESINOUS FLOORING

Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

GENERAL

SUMMARY

Section includes decorative resinous flooring systems in which the aggregates are broadcast into the body coat.

ACTION SUBMITTALS

Product Data:  For each type of product indicated.

Paragraph below assumes manufacturer's standard-size Samples are acceptable.  Revise to suit Project.  Insert requirements for Shop Drawings if special color patterns are required.

Samples:  For each type of exposed finish required.

INFORMATIONAL SUBMITTALS

Material certificates.

Material test reports.

CLOSEOUT SUBMITTALS

Maintenance data.

QUALITY ASSURANCE

Installer Qualifications:  Manufacturer's authorized representative who is trained and approved for installation of flooring systems required for this Project.

Engage an installer who is certified in writing by resinous flooring manufacturer as qualified to apply resinous flooring systems indicated.

Installer Letter of Certification: Installer to provide letter stating that they have been in business for at least 10 years and listing 5 projects in the last 2 years of similar scope. For each project provide: project name, location, date of installation, contact information, size of project, and manufacturer of materials with system information.

Source Limitations:  Obtain primary resinous flooring materials, including primers, resins, hardening agents, grouting coats, and topcoats, from single source from single manufacturer.  Provide secondary materials, including patching and fill material, joint sealant, and repair materials, of type and from source recommended by manufacturer of primary materials.

Mockups:  Apply mockups to verify selections made under sample submittals and to demonstrate aesthetic effects and set quality standards for materials and execution.

Apply full-thickness mockups on 48-inch- (1200-mm-) square floor area selected by Architect.

Retain first subparagraph below for integral cove base.

Include 48-inch (1200-mm) length of integral cove base with inside[ and outside] corner.

Simulate finished lighting conditions for Architect's review of mockups.

Retain subparagraph below if mockups are installed as part of building rather than erected separately and the intention is to make an exception to the default requirement in Section 014000 "Quality Requirements" for demolishing and removing mockups when directed unless otherwise indicated.

Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Mock-up shall demonstrate desired slip resistance for review and approval by Architect, Owner and Contractor prior to installing project areas.

Preinstallation Conference:  Conduct conference at Project site.

PROJECT CONDITIONS

Environmental Limitations:  Comply with resinous flooring manufacturer's written instructions for substrate temperature, ambient temperature, moisture, ventilation, and other conditions affecting resinous flooring application.

Revise first paragraph below if specific foot-candle level is required.

Lighting:  Provide permanent lighting or, if permanent lighting is not in place, simulate permanent lighting conditions during resinous flooring application.

Close spaces to traffic during resinous flooring application and for not less than 24 hours after application unless manufacturer recommends a longer period.

PRODUCTS

MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers.  Retain one of two paragraphs and list of manufacturers in this article.  See Section 016000 "Product Requirements."

Manufacturers:  Subject to compliance with requirements, [provide products by one of the following] [available manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following]:

Basis-of-Design Product:  Subject to compliance with requirements, provide [product indicated on Drawings] <Insert manufacturer's name; product name or designation> or comparable product by one of the following:

Crossfield Products Corp.; Dex-O-Tex.

Dur-A-Flex, Inc.

Key Resin Company.

Sherwin-Williams Company; General Polymers.

Stonhard, Inc.

Tnemec Company, Inc.

<Insert manufacturer's name>.

MATERIALS

Retain "VOC Content of Resinous Flooring" Paragraph below if required for LEED-NC, LEED-CI, or LEED-CS Credit IEQ 4.2.  Coordinate product selection in other Part 2 articles to be sure that products comply.

VOC Content of Liquid-Applied Flooring Components:  Not more than 100 g/L when calculated according to 40 CFR 59, Subpart D (EPA Method 24):

Retain "Low-Emitting Materials" Paragraph below if required for LEED for Schools Credit IEQ 4.

DECORATIVE BROADCAST TYPE RESINOUS FLOORING[ <RF-#>]

Retain this article for resinous floorings in general commercial areas requiring abrasion, impact, and chemical resistance but where aesthetics are important.

Copy this article and re-edit for each product.

Insert number to complete drawing designation.  Use these designations on Drawings to identify each product.

Resinous Flooring:  Abrasion-, impact- and chemical-resistant, decorative-aggregate-filled, epoxy-resin-based, monolithic floor surfacing designed to produce a seamless floor[ and integral cove base].

System Characteristics:

Color and Pattern:  [As selected by Architect from manufacturer's full range] [As indicated by product designation listed above] [Match Architect's sample] <Insert description>.

Wearing Surface:  [Textured for slip resistance] [Orange-peel texture] [Smooth] [Manufacturer's standard wearing surface] <Insert description>.

Overall System Thickness:  [1/16 inch (1.6 mm)] [1/8 inch (3.2 mm)] [3/16 inch (4.8 mm)] [1/4 inch (6.4 mm)] [5/16 inch (8.0 mm)] [3/8 inch (9.6 mm)]<Insert thickness>.

Revise subparagraph below to suit Project; delete if not required.

Federal Agency Approvals:  [USDA] [FDA] approved for food-processing environments.

System Components

Prime Coat:  [Manufacturer's product recommended for substrate and use indicated] [Refer to moisture mitigation system] <Insert requirements>.

Mortar Coat:

Grout Coat:

Membrane:

Body Coats:

Resin:  [Epoxy] <Insert resin>.

Formulation Description:  [100 percent solids] [High solids] [Water based] <Insert requirements>.

Application Method:  Screeded [Self-leveling slurry with broadcast aggregates] [Self-leveling slurry].

Thickness of Coats:  [1/16 inch (1.6 mm)] [1/8 inch (3.2 mm)] [3/16 inch (4.8 mm)] [1/4 inch (6.4 mm)] <Insert thickness>.

Number of Coats:  [One] [Two] <Insert number>.

Aggregates:  [Manufacturer's standard] [Colored quartz (ceramic-coated silica)] [Vinyl flakes] [Granite] [Natural silica] <Insert requirements>.

Various topcoat options are available for resinous flooring systems.  Revise first paragraph below to suit Project.

Topcoat:  Sealing or finish coats.

Resin:  [Epoxy] [Urethane] [Vinyl ester] <Insert resin>.

Retain first subparagraph below if required.

Formulation Description:  [100 percent solids] [High solids] [Water based] <Insert requirements>.

Type:  [Clear] [Pigmented] <Insert description>.

Finish:  [Matte] [Gloss].

Number of Coats:  [Two] [Three] <Insert number>.

Retain first paragraph below and insert values to establish criteria for system physical properties.  Manufacturers' testing procedures differ; revise test methods indicated and insert additional requirements to suit Project.

System Physical Properties:  Provide resinous flooring system with the following minimum physical property requirements when tested according to test methods indicated:

Subparagraphs below are examples only and are based on test methods required in ASTM C 722, MIL-D-3134, and manufacturers' literature.

Compressive Strength:  <Insert value> per ASTM C 579.

Tensile Strength:  <Insert value> per ASTM C 307.

Flexural Modulus of Elasticity:  <Insert value> per ASTM C 580.

Water Absorption:  <Insert value> per ASTM C 413.

Coefficient of Thermal Expansion:  <Insert value> per ASTM C 531.

Indentation:  <Insert number> percent maximum per MIL-D-3134.

Impact Resistance:  No chipping, cracking, or delamination and not more than 1/16-inch (1.6-mm) permanent indentation per MIL-D-3134.

Resistance to Elevated Temperature:  No slip or flow of more than 1/16 inch (1.6 mm) per MIL-D-3134.

Abrasion Resistance:  <Insert value> maximum weight loss per ASTM D 4060.

Flammability:  Self-extinguishing per ASTM D 635.

Retain first option in first subparagraph below if Class I floor finish materials are required; retain second option if Class II floor finish materials are required.

Critical Radiant Flux:  [0.45 W/sq. cm] [0.22 W/sq. cm] or greater per NFPA 253.

Hardness:  <Insert value>, Shore D per ASTM D 2240.

Bond Strength:  <Insert value>, 100 percent concrete failure per ACI 503R.

Retain paragraph below to establish criteria for chemical resistance.  If retaining, and if criteria apply only to system's topcoat, revise to suit Project.

System Chemical Resistance:  Test specimens of cured resinous flooring system are unaffected when tested according to [ASTM D 1308 for 50 percent immersion] [ASTM D 543, Procedure A, for immersion] [ASTM C 267 for immersion] <Insert testing requirements> in the following reagents for no fewer than seven days:

<Insert list of reagents that Owner has determined are likely to contact resinous flooring during in-service use>.

ACCESSORIES

Retain first paragraph below if primer is required.  Some systems are self-priming.  Some manufacturers offer alternative primers.

Primer:  Type recommended by manufacturer for substrate and body coats indicated.

Retain subparagraph below if required.

Formulation Description:  [100 percent solids] [High solids] [Water based] <Insert requirements>.

Retain first paragraph below if a reinforcing membrane is required for crack control.  Before retaining, verify availability for systems selected.  Primer may be required if reinforcing membrane is applied to entire substrate surface.

Reinforcing Membrane:  Flexible resin formulation that is recommended by manufacturer for substrate and primer and body coats indicated and that prevents substrate cracks from reflecting through resinous flooring.

Retain first subparagraph below if required.

Formulation Description:  [100 percent solids] [High solids] <Insert requirements>.

Retain subparagraph below if required or revise to suit products selected.  Fiberglass-scrim reinforcement may not be required in areas subject to moderate impact; consult manufacturers for recommendations.

Provide fiberglass scrim embedded in reinforcing membrane.

Patching and Fill Material:  Resinous product of or approved by resinous flooring manufacturer and recommended by manufacturer for application indicated.

EXECUTION

PREPARATION

Concrete Substrates:  Provide sound concrete surfaces free of laitance, glaze, efflorescence, curing compounds, form-release agents, dust, dirt, grease, oil, and other contaminants incompatible with resinous flooring.

Roughen concrete substrates as follows:

Retain one of first two subparagraphs below.  See Evaluations.

Shot-blast surfaces with an apparatus that abrades the concrete surface, contains the dispensed shot within the apparatus, and recirculates the shot by vacuum pickup.

Comply with ASTM C 811 requirements unless manufacturer's written instructions are more stringent.

Repair damaged and deteriorated concrete according to resinous flooring manufacturer's written instructions.

Retain first subparagraph below for moisture testing.  Excessive moisture vapor can cause adhesion failure of systems installed on slabs-on-grade.  See "Moisture and Flooring Failures" Article in the Evaluations.

Verify that concrete substrates are dry and moisture-vapor emissions are within acceptable levels according to manufacturer's written instructions.

Perform anhydrous calcium chloride test, ASTM F 1869.  Proceed with application of resinous flooring only after substrates have maximum moisture-vapor-emission rate of [3 lb of water/1000 sq. ft. (1.36 kg of water/92.9 sq. m)] <Insert emission rate> of slab area in 24 hours.

Perform plastic sheet test, ASTM D 4263.  Proceed with application only after testing indicates absence of moisture in substrates.

Perform relative humidity test using in situ probes, ASTM F 2170.  Proceed with installation only after substrates have a maximum [75] <Insert number> percent relative humidity level measurement.

Alkalinity and Adhesion Testing:  Verify that concrete substrates have pH within acceptable range.  Perform tests recommended by manufacturer.  Proceed with application only after substrates pass testing.

Resinous Materials:  Mix components and prepare materials according to resinous flooring manufacturer's written instructions.

Use patching and fill material to fill holes and depressions in substrates according to manufacturer's written instructions.

Treat control joints and other nonmoving substrate cracks to prevent cracks from reflecting through resinous flooring according to manufacturer's written instructions.

APPLICATION

General:  Apply components of resinous flooring system according to manufacturer's written instructions to produce a uniform, monolithic wearing surface of thickness indicated.

Coordinate application of components to provide optimum adhesion of resinous flooring system to substrate, and optimum intercoat adhesion.

Cure resinous flooring components according to manufacturer's written instructions.  Prevent contamination during application and curing processes.

Retain subparagraph below for expansion or isolation joints in floor.

At substrate expansion and isolation joints, comply with resinous flooring manufacturer's written instructions.

Delete first paragraph below if only self-priming systems are required.

Apply primer over prepared substrate at manufacturer's recommended spreading rate.

Applying reinforcing membrane only to substrate cracks may be adequate for areas subject to moderate impact; consult manufacturers for recommendations.  Primer may not be required if reinforcing membrane covers entire substrate surface; verify requirements for resinous flooring systems selected.

Apply reinforcing membrane to [substrate cracks] [entire substrate surface].

Retain first paragraph below for integral cove base.  If retaining, insert requirements for installing metal or plastic cove caps if required.

Integral Cove Base:  Apply cove base mix to wall surfaces before applying flooring.  Apply according to manufacturer's written instructions and details including those for taping, mixing, priming, troweling, sanding, and topcoating of cove base.  Round internal and external corners.

Integral Cove Base:  [4 inches (100 mm)] <Insert dimension> high.

Retain first paragraph below for self-leveling systems.  If retaining, indicate thickness in Part 2 or insert below.

Apply self-leveling slurry body coats in thickness indicated for flooring system.

Retain subparagraph below for broadcast aggregates; revise to suit systems selected.

Broadcast aggregates at rate recommended by manufacturer and, after resin is cured, remove excess aggregates to provide surface texture indicated.

Retain first paragraph below for troweled or screeded systems.  If retaining, indicate thickness in Part 2 or insert below.

Apply troweled or screeded body coats in thickness indicated for flooring system.  Hand or power trowel and grout to fill voids.  When cured, remove trowel marks and roughness using method recommended by manufacturer.

Retain first paragraph below if required.

Apply grout coat, of type recommended by resinous flooring manufacturer, to fill voids in surface of final body coat and to produce wearing surface indicated.

Apply topcoats in number indicated for flooring system and at spreading rates recommended in writing by manufacturer.

Protect resinous flooring from damage and wear during the remainder of construction period.

END OF SECTION 096723