## Eq Matrix
[BJC Project Number] [BJC Project Name]
Equipment Matrix
Sumbittal Date: [DATE]
[8 empty] | Asset Number (from BJC) | Equipment Plan Designation | Specification Section | Building ID | Location (BJC Room Number) | Asset Short Description | System (Type of system the equipment serves) | Submittal Number | Equip. Mfg. | Model Number | Serial Number | Power Branch & Panel # | Motor HP | Heat Capacity (Mbtu ) | Cooling Capacity (Tons) | Flow | Start-Up Date(s) | Prefunctional Checklist Approved | Functional Performance Test Approved | Integrated Systems Test Approved | Substantial Completion Date | Mfg. Warranty Start Date | Warranty End Date
I | - | MECHANICAL (Div 23)
Chilled Water System
|  | Pumps | [20 empty] | GPM
|  |  | Chilled Water Supply | [5 empty] | CHWSP-7
|  |  | Chilled Water Return | [5 empty] | CHWRP-7
Chillers
|  |  | Chiller | [5 empty] | CH-5
Coolting Towers
|  |  | Cooling Tower | [5 empty] | CT-3
| Air Handling | [21 empty] | CFM
Variabe Frequency Drives
|  |  | U | - |  |  |  |  | VFD-23
Air Terminal Units
|  |  | U | - |  |  |  |  | VAV-84
Air Handling Units
|  |  | U | - |  |  |  |  | AHU-25
Roof Top Units
|  |  | U | - |  |  |  |  | RTU-36
| Fan Coil Units | [21 empty] | CFM
|  | C | - | [5 empty] | FCU-31
| Computer Room Air Condition Units | [21 empty] | CFM
|  | C | - | Computer Room Air Conditioning Unit |  |  |  |  | CRAC-10
I | - | PLUMBING (Div 22)
| S | - | Domestic Water System
|  | C | -
U
|  |  |  | U.1 | -
| S | - | Diesel Fuel System
U
|  |  |  | U.1 | -
| S | - | Subsurface Drainage System
|  | C | -
| S | - | Elevator Sump System
|  | C | -
| S | - | Sewage System
|  | C | -
| S | - | Med Gas
|  | C | -
| S | - | Lab Piping System
|  | C | - | Lab Waste
U
|  |  |  | U.1 | -
|  | C | - | Liquid Nitrogen
U
|  |  |  | U.1 | -
|  | C | - | Lab Vacuum
U
|  |  |  | U.1 | -
|  | C | - | Lab Air Compression
U
|  |  |  | U.1 | -
|  | C | - | High Purity Water (RO)
U
|  |  |  | U.1 | -
I | - | Normal Power
| S | -
|  | C | -
|  |  | U | -
|  |  |  | U.1 | -
[5 empty] | U.2 | -
[6 empty] | U.3 | -
I | - | Emergency Power
| S | -
|  | C | -
|  |  | U | -
|  |  |  | U.1 | -
|  |  |  | U.1 | -
[5 empty] | U.2 | -
[6 empty] | U.3 | -
I | - | Conveying Systems (Div 14)
| S | - | Elevators
|  | C | -
I | - | Fire Protection (Div 21)
| S | - | Wet
|  | C | -
| S | - | Preaction
|  | C | -
| S | - | Dry Pipe
|  | C | -
I | - | Lab Equipment
| S | - | Fume Hoods
|  | C | -
| S | - | Radio Isotope Hoods
|  | C | -
| S | - | Bio-Safety Cabinets
|  | C | -
| S | - | Exhaust Snorkel
|  | C | -
I | - | Kitchen Equipment
| S | - | Kitchen
|  | C | -

## Valve Schedule
CONTRACTOR :
BJC PROJECT NO. :
DATE SUBMITTED :
VALVE SCHEDULE
Asset Number | Building ID | Location/Room Number | Valve Tag Number | System | Function | Valve Type | Date Installed | Next Test Date | Manufacturer | Model No. | Valve Size (in.) | Valve Press/Temp Rating (psig/Deg F)
Column Explanations:
Asset Number - If applicable. Coordinate with Owner's Representative.
Building ID - Coordinate with Owner's Representative.
Room Number - Per plans and specs. Confirm with Owner's Representative before tags are ordered.
Valve Tag Number - Assigned by Contractor per information provided by Owner's Representative.
System - System in which the valve is installed in i.e. chilled water supply, hot water return.
Function -Valve usage i.e. isolation, shut off, bypass.

## Fire Damper Matrix
CONTRACTOR :
BJC PROJECT NO. :
DATE SUBMITTED :
FIRE DAMPER (FD), FIRE SMOKE DAMPER (FSD) and SMOKE DAMPER (SD) SCHEDULE
Asset Number | Building ID | Location/Room Number | FD, FSD & SD Tag Number | System | Function | Damper Type | Date Installed | Next Test Date | Manufacturer | Model No. | Damper Size (in.) | Damper Temp. Rating (Deg F)
Column Explanations:
Asset Number - If applicable. Coordinate with Owner's Representative.
Building ID -Coordinate with Owner's Representative.
Room Number - Per plans and specs. Confirm with Owner's Representative before tags are ordered.
FD,FSD and SD Tag Number - Assigned by Contractor per information provided by Owner's Representative.
System - System in which the HVAC system damper is installed i.e. AHU, OAHU, EF, Transfer Duct, etc.
Function - Supply, Return or Exhaust
Damper Type - Stainless side seal (s), Blade lip seal (l), Motorized operation (M), Pneumatic operation (P), Hand operation (H)
Next Test Date - Always one year from install date.
Damper Size - Round, Square, Rectangular size in inches
Template Version: 032113