SECTION 016000 - PRODUCT REQUIREMENTS

Revise this Section by deleting and inserting text to meet Project-specific requirements.

GENERAL

SUMMARY

Section includes administrative and procedural requirements for selection of products for use in Project; product delivery, storage, and handling; manufacturers' standard warranties on products; special warranties; and comparable products.

Related Requirements:

Retain subparagraph below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 012500 "Substitution Procedures" for requests for substitutions.

DEFINITIONS

Always retain this article.  These definitions refer specifically to contents of this Section and are not repeated in Section 014200 "References."

Products:  Items obtained for incorporating into the Work, whether purchased for Project or taken from previously purchased stock.  The term "product" includes the terms "material," "equipment," "system," and terms of similar intent.

Named Products:  Items identified by manufacturer's product name, including make or model number or other designation shown or listed in manufacturer's published product literature, that is current as of date of the Contract Documents.

New Products:  Items that have not previously been incorporated into another project or facility.  Products salvaged or recycled from other projects are not considered new products.

Comparable Product:  Product that is demonstrated and approved through submittal process to have the indicated qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics that equal or exceed those of specified product.

Basis-of-Design Product Specification:  A specification in which a specific manufacturer's product is named and accompanied by the words "basis-of-design product," including make or model number or other designation, to establish the significant qualities related to type, function, dimension, in-service performance, physical properties, appearance, and other characteristics for purposes of evaluating comparable products of additional manufacturers named in the specification.

ACTION SUBMITTALS

Comparable Product Requests:  Submit request for consideration of each comparable product.  Identify product or fabrication or installation method to be replaced.  Include Specification Section number and title and Drawing numbers and titles.

Architect's Action:  If necessary, Architect will request additional information or documentation for evaluation within one week of receipt of a comparable product request.  Architect will notify Contractor of approval or rejection of proposed comparable product request within 15 days of receipt of request, or seven days of receipt of additional information or documentation, whichever is later.

Form of Approval:  As specified in Section 013300 "Submittal Procedures."

Use product specified if Architect does not issue a decision on use of a comparable product request within time allocated.

Basis-of-Design Product Specification Submittal:  Comply with requirements in Section 013300 "Submittal Procedures." Show compliance with requirements.

QUALITY ASSURANCE

Compatibility of Options:  If Contractor is given option of selecting between two or more products for use on Project, select product compatible with products previously selected, even if previously selected products were also options.

PRODUCT DELIVERY, STORAGE, AND HANDLING

This article eliminates need to include this information in each other Section.  Limit use of this article in each Section to unusual requirements.

Deliver, store, and handle products using means and methods that will prevent damage, deterioration, and loss, including theft and vandalism.  Comply with manufacturer's written instructions.

Delivery and Handling:

Revise four subparagraphs below to suit Project.

Schedule delivery to minimize long-term storage at Project site and to prevent overcrowding of construction spaces.

Coordinate deliveries to loading docks with BJC project manager.

Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

Deliver products to Project site in an undamaged condition in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

Inspect products on delivery to determine compliance with the Contract Documents and to determine that products are undamaged and properly protected.

Storage.  Coordinate storage of materials with the following and with Owner’s requirements [and with Owner’s Indoor Air Quality Guide].

Store products to allow for inspection and measurement of quantity or counting of units.

Store materials in a manner that will not endanger Project structure.

Store products that are subject to damage by the elements, under cover in a weathertight enclosure above ground, with ventilation adequate to prevent condensation.

Protect foam plastic from exposure to sunlight, except to extent necessary for period of installation and concealment.

Comply with product manufacturer's written instructions for temperature, humidity, ventilation, and weather-protection requirements for storage.

Protect stored products from damage and liquids from freezing.

PRODUCT WARRANTIES

Warranties specified in other Sections shall be in addition to, and run concurrent with, other warranties required by the Contract Documents.  Manufacturer's disclaimers and limitations on product warranties do not relieve Contractor of obligations under requirements of the Contract Documents.

Warranty in "Manufacturer's Warranty" Subparagraph below is manufacturer's standard and may have exclusions and limitations that do not suit Project.  Check warranties and specify special warranties if manufacturers' warranties are unsuitable.

Manufacturer's Warranty:  Written warranty furnished by individual manufacturer for a particular product and specifically endorsed by manufacturer to Owner.

Special Warranty:  Written warranty required by the Contract Documents to provide specific rights for Owner.

Special Warranties:  Prepare a written document that contains appropriate terms and identification, ready for execution.

Manufacturer's Standard Form:  Modified to include Project-specific information and properly executed.

Specified Form:  When specified forms are included with the Specifications, prepare a written document using indicated form properly executed.

Refer to other Sections for specific content requirements and particular requirements for submitting special warranties.

Submittal Time:  Comply with requirements in Section 017700 "Closeout Procedures."

Insert specific requirements if a single warranty must cover work by several contractors.  Prepare draft of such warranty with advice of Owner's legal counsel and include it at end of this Section.

PRODUCTS

PRODUCT SELECTION PROCEDURES

This article defines procedures for product selection.  See Evaluations for a discussion of various specifying methods and a comparison table of terms in MasterSpec with those in the Construction Specifications Institute's "Project Resource Manual/CSI Manual of Practice."

General Product Requirements:  Provide products that comply with the Contract Documents, are undamaged and, unless otherwise indicated, are new at time of installation.

Five subparagraphs below are examples only; revise to suit Project.

Provide products complete with accessories, trim, finish, fasteners, and other items needed for a complete installation and indicated use and effect.

Standard Products:  If available, and unless custom products or nonstandard options are specified, provide standard products of types that have been produced and used successfully in similar situations on other projects.

Owner reserves the right to limit selection to products with warranties not in conflict with requirements of the Contract Documents.

Where products are accompanied by the term "as selected," Architect will make selection.

Descriptive, performance, and reference standard requirements in the Specifications establish salient characteristics of products.

Product Selection Procedures:

Retain one or both of "Product" and "Manufacturer/Source" subparagraphs below where a single product or manufacturer is named in individual Sections.

Product:  Where Specifications name a single manufacturer and product, provide the named product that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered.

Manufacturer/Source:  Where Specifications name a single manufacturer or source, provide a product by the named manufacturer or source that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered.

Products:

Retain one or both of "Restricted List" and "Nonrestricted List" subparagraphs below where multiple products are named in individual Sections. Retain one of first two options in first subparagraph if substitutions will be permitted during the Contract period.  If retaining third option, note exceptions in individual Specification Sections.

Restricted List:  Where Specifications include a list of names of both manufacturers and products, provide one of the products listed that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered unless otherwise indicated.

Manufacturers:

Retain one or both of "Restricted List" and "Nonrestricted List" subparagraphs below where multiple manufacturers are named. Retain one of first two options in first subparagraph if substitutions will be permitted during the Contract period.  If retaining third option, note exceptions in individual Specification Sections.

Restricted List:  Where Specifications include a list of manufacturers' names, provide a product by one of the manufacturers listed that complies with requirements.  Comparable products or substitutions for Contractor's convenience will not be considered unless otherwise indicated.

Retain "Basis-of-Design Product" Subparagraph below if a single product is named in individual Specification Sections or is indicated on Drawings as the basis of design, and a list of manufacturers' names offering comparable products is included.  A basis-of-design product specification is usually supplemented with salient characteristics of the desired product.

Basis-of-Design Product:  Where Specifications name a product, or refer to a product indicated on Drawings, and include a list of manufacturers, provide the specified or indicated product or a comparable product by one of the other named manufacturers.  Drawings and Specifications indicate sizes, profiles, dimensions, and other characteristics that are based on the product named.  Comply with requirements in "Comparable Products" Article for consideration of an unnamed product by one of the other named manufacturers.

Visual Matching Specification:  Where Specifications require "match Architect's sample", provide a product that complies with requirements and matches Architect's sample.  Architect's decision will be final on whether a proposed product matches.

If no product available within specified category matches and complies with other specified requirements, comply with requirements in Section 012500 "Substitution Procedures" for proposal of product.

Visual Selection Specification:  Where Specifications include the phrase "as selected by Architect from manufacturer's full range" or similar phrase, select a product that complies with requirements.  Architect will select color, gloss, pattern, density, or texture from manufacturer's product line that includes both standard and premium items.

COMPARABLE PRODUCTS

Conditions for Consideration:  Architect will consider Contractor's request for comparable product when the following conditions are satisfied.  If the following conditions are not satisfied, Architect may return requests without action, except to record noncompliance with these requirements:

Evidence that the proposed product does not require revisions to the Contract Documents, that it is consistent with the Contract Documents and will produce the indicated results, and that it is compatible with other portions of the Work.

Detailed comparison of significant qualities of proposed product with those named in the Specifications.  Significant qualities include attributes such as performance, weight, size, durability, visual effect, and specific features and requirements indicated.

Evidence that proposed product provides specified warranty.

List of similar installations for completed projects with project names and addresses and names and addresses of architects and owners, if requested.

Samples, if requested.

EXECUTION (Not Used)

If reference to a special warranty form was added where a single warranty must cover work by several contractors, insert form here and delete "(Not Used)" above.

END OF SECTION 01 60 00